## Plant and Equipment Identifiers
Plant and Equipment Identifier List
Equipment Type | Example | Techical ID Required | SAP Equipment Number Required | Technical ID Format DPS Designation | Note
HVAC
Air Handler | e.g. constant volume, variable volume, packaged, split systems | ü | ü | AH-XX-XXX
Air Dryer |  |  | ü
Air Station |  |  | ü
Boiler |  | ü | ü | Boiler X
Chiller |  | ü | ü | Chiller X
Cooling Tower |  |  | ü
Compressor |  |  | ü
Control Panel |  |  | ü
Controller |  |  | ü
Damper |  |  | ü | Fire Damper only FD-XX-XXX
Dosing Unit |  |  | ü
Electric Duct Heater |  | ü | ü | DH-XX-XXX
Electronic Device |  |  | ü
Fan | e.g. return air, smoke spill, supply air, exhaust air | ü | ü | FS-XX-XXX FE-XX-XXX FR-XX-XXX
Fan Coil Unit (FCU) |  | ü | ü | FCU-XX-XXX
Fan Unit |  |  | ü
Filter and Filter Banks |  | ü | ü | FB-XX-XXX
Fire Damper |  | ü | ü | FD-XX-XXX
Gear Box |  |  | ü
Heat Exchanger |  | ü | ü | HE-XX-XXX
Humidifier |  |  | ü
Mechanical Switchboard |  | ü | ü | MS-XX-XXX
Motor |  |  | Some critical motors
Precipitator |  |  | ü
Pump |  | ü | ü | P-XX-XXX
Sensor | e.g. Humidity, Static Pressure, Temperature |  | ü
Sluice Gate |  |  | ü
Strainer |  |  | ü
Valve | e.g. Balance, Check, Control, Differential Pressure, Isolation | ü | ü | CE-X-XX-XXX CW-X-XX-XXX HW-X-XX-XXX | Depending on size
Valve | e.g. Backflow Prevention, Non-Return, Thermostat Mixer |  | ü
Variable Air Volume Box (VAV) |  | ü | ü | VV-XX-XXX
Variable Speed Drive (VSD) |  |  | ü
Water Duct Heater |  |  | ü
Water Treatment Plant |  |  | ü
Catering/Kitchen Equipment
Compressor Condenser Unit | identified by a DPS Designation number |  | ü | XX
Forced Draft Cooler |  |  | ü
Heater |  |  | ü
Hood | identified by a DPS Designation number |  | ü | XX
Kitchen Equipment | e.g. Cool Room, Freezer Room, Blast Freezer | ü | ü | Freezer Room XXX-FR-XX Coolroom XXX-CR-XX | e.g Great Hall Kitchen Coolroom GHK-CR-01 Freezer Room GHK-FR-01
Kitchen Equipment Appliances | e.g. Blender, Brat Pan, Chopper, Coffee machines, Cold Counter/Display Cabinet, Combi (Steam) Oven, Cook Top, Cooker, Dish/Glass Washer, Food Transporter, Fryer, Oven, Mixer, Range Hood, Refrigerator/Freezer, Salamander |  | ü
Motor Gearbox Unit |  |  | ü
Pressure Regulator |  |  | ü
Refrigeration System | Evaporator/Condensers |  | ü
Trolley |  |  | ü
Waste
Sanitary Disposal Unit (SDU) |  |  | ü
Trade Waste | e.g. Grease Trap, Paint Disposal, Oil Interceptor |  | ü
Water Treat Plant |  |  | ü
Electrical Distribution
Area Main Switchboard (AMSB) | Including: circuit breakers, meters, protection relays | ü | ü | AMSB-XX
Battery Charger |  |  | ü
Battery Bank |  |  | ü
Busway (Bus Duct) |  |  | ü
Circuit Breaker |  |  | ü
Dimmer Rack |  |  | ü
Distribution Board and sub boards | Including: circuit breakers, meters | ü | ü | DB-XX-XXX
Engine |  |  | ü
Exciter |  |  | ü
Generator |  | ü | ü
Generator | Including: fuel tank, pump, valve, control panel |  | ü
Junction Box |  |  | ü
Link Box |  |  | ü
Luminaire | identified by a DPS code in documentation and drawings |  | ü | XX
Light standard/column |  |  | ü
Switchboard | e.g. AMSB, Emergency Lighting, Lift, Mechanical, Refrigeration, Substation Including: circuit breakers, meters, protection relays, control gear | ü | ü | AMSB-XX Lift Switchboard LSE11.L10/4 Car 35
Meter and Meter Box |  |  | ü
Motor AC, DC |  |  | ü
Power Factor Correction Equipment | Including: capacitors, circuit breakers, monitors |  | ü
Power Supply |  |  | ü
Relay |  |  | ü
Sub-Main Cable |  |  | ü
Switch |  |  | ü
Tee-Off Box |  |  | ü
Transformer |  |  | ü
Uninterruptable Power Supply (UPS) | Including: battery bank, charger and monitor; input/output boards, circuit breakers, static transfer switch, local interface/control panel | ü | ü | UPS only given Tech ID e.g UPS 10A
Fire Protection
Booster Assembly | Including pumps, motors, control panels, valves, alarms, flow switch, reduced pressure zone device |  | ü
Control Panel |  |  | ü
Electric Door Operator/Closer |  |  | ü
Fire Blanket |  |  | ü
Fire Damper |  | ü | ü | FD-XX-XXX
Fire Door Holder | e.g. magnetic door holder, roller door fusible links |  | ü
Fire Extinguisher |  |  | ü
Fire Hose Reel |  |  | ü
Fire Hydrant |  |  | ü
Fire Indicator Board/Panel (FIB, FIP) |  |  | ü
Fire Penetrations |  | ü | ü | FP-XX-XXX
Fire/Smoke Door |  |  | ü
Indicator |  |  | ü
Motor |  |  | ü
Pressure Switch |  |  | ü
Pump |  |  | ü
Smoke Detector |  |  | ü
Systems | e.g. mist, spray, deluge |  | ü
Valve | e.g. isolation, non-return, alarm, check | ü | ü | CE-X-XX-XXX CW-X-XX-XXX HW-X-XX-XXX | Depending on size
Very Early Smoke Detection Apparatus (VESDA) |  |  | ü
Flusherette (Flushometer)
Controls |  |  | ü
Electronic Device |  |  | ü
Flusherette Station |  |  | ü
Meter |  |  | ü
Motor AC |  |  | ü
Pump |  |  | ü
Tank |  |  | ü
Valve | e.g. isolation, pressure reducing, drain/flush |  | ü |  | Depending on size
Variable Speed Drive (VSD) |  |  | ü
Lift/Lifting Equipment
Cable Reel |  |  | ü
Controller and Control Panel |  |  | ü
Drive |  |  | ü
Hoist / winch |  |  | ü
Hydraulic Pack |  |  | ü
Lift | e.g. lift car, disabled chair, platform, goods | ü | ü | LIFT XX
Mobile Equipment |  |  | ü
Mobile Window Cleaner (Building Maintenance Unit) |  |  | ü
Motor Generator Set |  |  | ü
Switchboard |  |  | ü
Recreation
Recreation Equipment | e.g. gym equipment, billiard table |  | ü |  | If maintained by DPS
Security Systems
Bollards | Including: actuators, operating mechanisms, compressors, control panel |  | ü
Door / Gate |  |  | ü
Camera |  |  | ü
Electronic Device |  |  | ü
Security Module |  |  | ü
Security Rack |  |  | ü
Security X-Ray |  |  | ü
Machines
Maintenance Equipment |  |  | ü
Mobile Equipment | e.g. vehicles, electric transport, tractors, forklift, mobility scooters |  | ü
Spray Painting Booth |  |  | ü
Water Reticulation
Calorifier |  |  | ü
Control and Control Panel |  |  | ü
Drinking Bubbler and Fountains |  |  | ü
Filter |  |  | ü
Heater and Instantaneous Boiling Units |  |  | ü
Meter and Meter Pit |  |  | ü
Motor |  |  | ü
Pump |  | ü | ü | P-XX-XXX
Sensors and pressure switches |  |  | ü
Tank |  |  | ü
Valve | e.g. isolation, non-return, bypass, backflow prevention, differential control, mixing |  | ü
Irrigation System
Water Reticulation equipment |  |  | ü
Weather Station |  |  | ü
Pools & Fountains
Water Reticulation equipment |  |  | ü
Pool |  |  | ü
Spa |  |  | ü
Water Displays and Features | Including: plant |  | ü
Building Structure & Surfaces
‘Special’ Doors and Gates | Including: fire, smoke, monumental, glazed, security, ballistic, metal clad, door operators/drives |  | ü
Automated Door Operator |  |  | ü
Curved Wall |  |  | ü
Flagpole |  |  | ü
Rooms | New or deleted rooms or where the function of the space has changed | ü |  | AA.FF.XXX Room Description | e.g. 1A.G.200 Lunch Room
Safety Equipment
Eyewash Fountain |  |  | ü
Gas Detector |  |  | ü
Height safety & fall arrest | Including: anchor points, ladders, platform, fall arrest, harness |  | ü
Gas Reticulation
Detector |  |  | ü
Meter |  |  | ü
Regulator |  |  | ü
Valve |  |  | ü
Building Monitoring System
Control Panel |  |  | ü
Electronic Device |  |  | ü
Remote Telemetry/Terminal Unit (RTU) |  |  | ü
Uninterruptable Power Supply (UPS) |  |  | ü
Miscellaneous
Certified and/or registered equipment | e.g. pressure vessels, air receiver |  | ü
Maintainable equipment | Including: Items requiring planned/routine maintenance, inspection, testing or calibration |  | ü
DPS Standard for Project Documentation |  |  |  |  | D18/28568