	

	

	


	

	

	



[image: image1.wmf]
Fuel Standard (Biodiesel) Determination 2003
I, DAVID ALISTAIR KEMP, Minister for the Environment and Heritage, make this Determination under section 21 of the Fuel Quality Standards Act 2000.

Dated 18 September 2003

DAVID KEMP

Minister for the Environment and Heritage

1
Name of Determination



This Determination is the Fuel Standard (Biodiesel) Determination 2003.

2
Commencement



This Determination commences on gazettal.

3
Definitions



In this Determination:

ASTM International means the standards development organisation of that name.

biodiesel means a diesel fuel obtained by esterification of oil derived from plants or animals.

European Committee for Standardisation (CEN) means the standards development organisation of that name.

4
Fuel standards for biodiesel


(1)
Biodiesel that contains a substance mentioned in the following table must not contain more than the amount mentioned for the substance from the date mentioned for the substance.

	Item
	Substance
	Amount
	Date

	1
	Sulfur
	50 mg/kg
	18 September 2003

	2
	Sulfur
	10 mg/kg
	1 February 2006

	3
	Sulfated ash
	0.020% mass
	18 September 2003

	4
	Carbon residue — 10% distillation residue; or
	0.30% mass
	18 September 2003

	
	Carbon residue — 100% distillation sample
	0.050% mass
	18 September 2003

	5
	Water and sediment
	0.050% vol 
	18 September 2003

	6
	Phosphorus
	10 mg/kg
	18 September 2003

	7
	Free glycerol
	0.020% mass
	18 September 2004

	8
	Total glycerol
	0.250% mass
	18 September 2004

	9
	Metals — Group I (Na, K)
	5 mg/kg
	18 September 2004

	10
	Metals — Group II (Ca, Mg)
	5 mg/kg
	18 September 2004

	11
	Alcohol
	0.20% (m/m)
	18 September 2004



(2)
A property of biodiesel mentioned in the following table must meet the specification mentioned for the property from the date mentioned for the property.

	Item
	Property
	Specification
	Date

	1
	Density at 15C
	860 to 890 kg/m3
	18 September 2003

	2
	Distillation T90
	360C (max)
	18 September 2003

	3
	Viscosity
	3.5 to 5.0 mm2/s @ 40C
	18 September 2003

	4
	Flashpoint
	120.0C (min)
	18 September 2003

	5
	Copper strip corrosion (3hrs @ 50C)
	No. 3 (max)
	18 September 2003

	6
	Ester content
	96.5% (m/m) (min)
	18 September 2003

	7
	Acid value
	0.80 mg KOH/g (max)
	18 September 2003

	8
	Total contamination
	24 mg/kg (max)
	18 September 2004

	9
	Cetane number
	51.0 (min)
	18 September 2004

	10
	Oxidation stability
	6 hours @ 110C (min)
	18 September 2004


5
Testing methods


(1)
Compliance with the standard set out in section 4 for the substance or property is determined by the testing method for the substance or property in the following table:

	Item
	Substance or property
	Testing method

	1
	Acid value
	ASTM D664

	2
	Alcohol
	prEN 14110

	3
	Carbon residue — 10% distillation residue
	EN ISO 10370

	4
	Carbon residue — 100% distillation sample
	ASTM D4530

	5
	Cetane number
	EN ISO 5165 or ASTM D613

	6
	Contamination (total)
	EN 12662 or ASTM D5452

	7
	Copper strip corrosion
	ASTM D130

	8
	Density
	ASTM D1298 or EN ISO 3675

	9
	Distillation T90
	ASTM D1160

	10
	Ester content
	prEN 14103

	11
	Flashpoint
	ASTM D93

	12
	Glycerol (free)
	ASTM D6584

	13
	Glycerol (total)
	ASTM D6584

	14
	Metals — Group I (Na, K)
	prEN 14108 and prEN 14109

	15
	Metals — Group II (Ca, Mg)
	prEN 14538

	16
	Oxidation stability
	prEN 14112 or ASTM D2274 (as relevant to biodiesel)

	17
	Phosphorus
	ASTM D4951

	18
	Sulfur
	ASTM D5453

	19
	Sulfated ash
	ASTM D874

	20
	Viscosity
	ASTM D445

	21
	Water and sediment
	ASTM D2709



(2)
For subsection (1):


(a)
ASTM followed by an alphanumeric code means the testing method developed by ASTM International under the alphanumeric code; and


(b)
prEN, EN and EN ISO followed by a number means the testing method developed by the European Committee for Standardisation (CEN) under the code and number.

2003092901 29/09/2003 1:40 PM
	2
	Fuel Standard (Biodiesel) Determination 2003
	


2003092901 29/09/2003 1:40 PM
	
	Fuel Standard (Biodiesel) Determination 2003
	3


2003092901 29/09/2003 1:40 PM

